## Slide 1: Evaluating diagnostic tests when the reference standard is imperfect: sources and types of uncertainty

## Slide 2: “Guess and check” is always a good strategy
Throwaway remark by Charlotte Wickham

## Slide 3: Definitions and glossary
Condition (sorites paradox)
Test
Contingency matrix (aka confusion matrix)
Diagnostic accuracy
Reference test
Gold standard
Data
Parameter
Degrees of freedom

## Slide 4: Scenarios in which an imperfect reference standard creates uncertainties in diagnostic accuracy
Setting
  Test evaluation?
  Meta-analysis?
  Test/reference standard development?
Questions
How can the uncertainties be:
  Quantified?
  Minimized?
Scenarios
A new test for the presence or absence of a condition is being evaluated against a reference standard that is imperfect
Several tests, together or in sequence, are being evaluated
The test is evaluated in populations with different prevalences
The reference test is done in subgroups selected on the basis of the result of the index test
The test results are categorical with more than 2 classes, or are quantitative
…

## Slide 5: Focus
Scenario
A new test for the presence or absence of a condition is being evaluated against a reference standard that is imperfect.
Setting
Test evaluation
Question
How can we quantify the uncertainties in the measured diagnostic accuracy statistics: sensitivity, specificity, positive predictive value, and negative predictive value?

## Slide 6: Challenges in quantifying the uncertainties
No standard nomenclature
Map the sources of uncertainty in the imperfect reference standard (2 x 4 contingency matrix)
Quantify the consequences of uncertainties on diagnostic accuracy, clinical utility, and cost effectiveness
Quantify biases from unmet assumptions

## Slide 7: 2 x 2 contingency matrix
 |  | Condition present | Condition absent
Population | Index test +ve | A | C
 | Index test -ve | B | D

## Slide 8: 2 x 4 contingency matrix for imperfect reference
 |  |  |  | Condition present |  | Condition absent | 
 |  |  |  | A | B | C | D
 |  |  | Index test +ve | A1 |  |  | 
 |  | Reference test +ve |  |  |  |  | 
 |  |  | Index test -ve |  | B1 |  | 
 | Condition present |  |  |  |  |  | 
 |  |  | Index test +ve |  |  | C1 | 
 |  | Reference test -ve |  |  |  |  | 
 |  |  | Index test -ve |  |  |  | D1
Population |  |  |  |  |  |  | 
 |  |  | Index test +ve | A2 |  |  | 
 |  | Reference test +ve |  |  |  |  | 
 |  |  | Index test -ve |  | B2 |  | 
 | Condition absent |  |  |  |  |  | 
 |  |  | Index test +ve |  |  | C 2 | 
 |  | Reference test -ve |  |  |  |  | 
 |  |  | Index test -ve |  |  |  | D2
Imperfections in the reference test

## Slide 9: Process
Data from the index test compared against the reference test
Estimate the reference test’s true accuracy
Adjust the index test accuracy statistics
What is the minimum information needed for:
index test’s measured accuracy (ir.)
reference test’s true accuracy (rg.)
index test’s true accuracy (ig.)

## Slide 10: What are TP, FP, FN, TN in a contingency matrix
For index test cf reference test?
For reference test cf gold standard?
For index test cf gold standard?
Counts
Probabilities
Probabilities
    Guess and check

## Slide 11: What are the degrees of freedom of TP, FP, FN, TN in a contingency matrix
For index test cf reference test?
For reference test cf gold standard?
For index test cf gold standard?
Counts
Probabilities
Probabilities
0? 1? 2? 3? 4?
0? 1? 2? 3? 4?
0? 1? 2? 3? 4?
    Guess and check

## Slide 12: Process
Data from the index test compared against the reference test
Estimate the reference test’s true accuracy
Adjust the index test accuracy statistics
What is the optimal parameterization for:
index test’s measured accuracy (ir.)
reference test’s true accuracy (rg.)
index test’s true accuracy (ig.)
    Prevalence?
    From reference test?
    From gold standard?
    From unadjusted index test?

## Slide 13: Uncertainties in the index test’s true sensitivity, specificity, PPV, and NPV Explore 1 variable at a time, assuming the tests are statistically independent
Given:
Range of prevalences: gPrevLow – gPrev – gPrevHigh
Index test’s measured sensitivity and specificity (with 95% CIs): irSen, irSpec
Reference test’s estimated sensitivity and specificity (with ranges): rgSen, rgSpec
Index test’s sensitivity and specificity (with ranges): igSen, igSpec
Conditional independence of the index and reference tests’ results
For each prevalence (gPrevLow – gPrev – gPrevHigh), and
Separately for the given example values of igSen and igSpec
Facet-plot line graphs for the index test:
Y1-s = igSen and igPPV; or igSpec and igNPV
Y2-s = differentials: (irSen – igSen) and (irPPV – igPPV); or (irSpec – igSpec) and (irNPV – igNPV)
X1-s = reference test’s sensitivity, with ranges rgSenLow – rgSenHigh
X2-s = reference test’s specificity, with ranges rgSpecLow – rgSpecHigh

## Slide 14: Uncertainties in the index test’s true sensitivity, specificity, PPV, and NPV Explore all independent variables simultaneously, assuming statistical independence
Given:
Range of prevalences: gPrevLow – gPrev – gPrevHigh
Index test’s measured sensitivity and specificity (with 95% CIs): irSen, irSpec
Reference test’s guestimated sensitivity and specificity (with ranges): rgSen, rgSpec
Index test’s sensitivity and specificity (with ranges): igSen, igSpec
Conditional independence of the index and reference tests’ results
Probability distribution functions (PDFs) for each of the input variables Assuming correlations = 0
Number of random samples to perform from each input variable’s PDF: nSamp
For each prevalence (gPrevLow – gPrev – gPrevHigh), and
Separately for the given example values of igSen and igSpec
Facet-plot box and whisker plots for data from Nsamp:
Estimates: igSen, igSpec, igPPV, and igNPV
Differentials: (irSen – igSen) and (irPPV – igPPV); or (irSpec – igSpec) and (irNPV – igNPV)

## Slide 15: Uncertainties in the index test’s true sensitivity, specificity, PPV, and NPV Explore all independent variables simultaneously, assuming statistical dependence
Given:
Range of prevalences: gPrevLow – gPrev – gPrevHigh
Index test’s measured sensitivity and specificity (with 95% CIs): irSen, irSpec
Reference test’s guestimated sensitivity and specificity (with ranges): rgSen, rgSpec
Index test’s sensitivity and specificity (with ranges): igSen, igSpec
Conditional independence of the index and reference tests’ results
Probability distribution functions (PDFs) for each of the input variables with specified correlations >0
Number of random samples to perform from each input variable’s PDF: Nsamp
For each prevalence (gPrevLow – gPrev – gPrevHigh), and
Separately for the given example values of igSen and igSpec
Facet-plot box and whisker plots for data from Nsamp:
Estimates: igSen, igSpec, igPPV, and igNPV
Differentials: (irSen – igSen) and (irPPV – igPPV); or (irSpec – igSpec) and (irNPV – igNPV)